## NC_simple.wke
Analysis | Identifier 1 | Rt | Ampl 28 | Ampl 29 | Area 28 | Ampl 44 | Ampl 45 | Area 44 | d 15N/14N | d 13C/12C
1935 | LOCS Std | 47.7 | 2465 | 1803 | 46.252 |  |  |  | 0
1935 | LOCS Std | 87.6 | 2467 | 1805 | 46.28 |  |  |  | 0
1935 | LOCS Std | 157.2 | 1107 | 814 | 29.862 |  |  |  | 4.481
1935 | LOCS Std | 287.2 |  |  |  | 5718 | 6660 | 159.466 |  | -4.255
1935 | LOCS Std | 446.2 |  |  |  | 4802 | 5606 | 67.685 |  | 0
1935 | LOCS Std | 485.9 |  |  |  | 4818 | 5625 | 89.206 |  | -0.186
1936 | no tin blank | 47.7 | 2488 | 1821 | 46.777 |  |  |  | -0.054
1936 | no tin blank | 87.4 | 2486 | 1820 | 46.703 |  |  |  | 0
1936 | no tin blank | 446 |  |  |  | 4803 | 5608 | 87.296 |  | 0
1936 | no tin blank | 485.9 |  |  |  | 4825 | 5633 | 89.284 |  | -0.238
1937 | no tin blank | 47.7 | 2485 | 1818 | 46.703 |  |  |  | -0.006
1937 | no tin blank | 86.7 | 2485 | 1819 | 46.649 |  |  |  | 0
1937 | no tin blank | 446 |  |  |  | 4812 | 5619 | 87.667 |  | 0
1937 | no tin blank | 485.9 |  |  |  | 4833 | 5643 | 89.353 |  | -0.227
1938 | tin blank | 47.7 | 2488 | 1821 | 46.745 |  |  |  | -0.017
1938 | tin blank | 87.4 | 2487 | 1820 | 46.685 |  |  |  | 0
1938 | tin blank | 289.7 |  |  |  | 57 | 67 | 1.313 |  | -3.625
1938 | tin blank | 446 |  |  |  | 4822 | 5630 | 87.952 |  | 0
1938 | tin blank | 485.9 |  |  |  | 4838 | 5648 | 89.559 |  | -0.219
1939 | tin blank | 47.7 | 2488 | 1821 | 46.832 |  |  |  | 0.044
1939 | tin blank | 87.4 | 2486 | 1819 | 46.73 |  |  |  | 0
1939 | tin blank | 290.3 |  |  |  | 53 | 61 | 1.189 |  | -5.189
1939 | tin blank | 446 |  |  |  | 4819 | 5626 | 88.021 |  | 0
1939 | tin blank | 485.9 |  |  |  | 4828 | 5637 | 89.512 |  | -0.191
1940 | LOCS Std lg | 47.7 | 2486 | 1819 | 46.709 |  |  |  | 0.02
1940 | LOCS Std lg | 87.6 | 2489 | 1821 | 46.717 |  |  |  | 0
1940 | LOCS Std lg | 156.8 | 1249 | 919 | 33.553 |  |  |  | 4.651
1940 | LOCS Std lg | 286.5 |  |  |  | 6739 | 7850 | 193.814 |  | -4.302
1940 | LOCS Std lg | 446.2 |  |  |  | 4844 | 5654 | 89.039 |  | 0
1940 | LOCS Std lg | 486.1 |  |  |  | 4848 | 5658 | 89.942 |  | -0.082
1941 | LOCS Std sm | 47.7 | 2493 | 1824 | 46.851 |  |  |  | -0.057
1941 | LOCS Std sm | 87.6 | 2491 | 1823 | 46.821 |  |  |  | 0
1941 | LOCS Std sm | 156.3 | 297 | 218 | 7.965 |  |  |  | 3.162
1941 | LOCS Std sm | 289.3 |  |  |  | 1579 | 1835 | 43.574 |  | -6.535
1941 | LOCS Std sm | 446.2 |  |  |  | 4846 | 5657 | 88.921 |  | 0
1941 | LOCS Std sm | 485.9 |  |  |  | 4855 | 5667 | 90.019 |  | -0.108
1942 | LOCS Std lg | 47.7 | 2494 | 1825 | 46.87 |  |  |  | 0.04
1942 | LOCS Std lg | 87.6 | 2493 | 1824 | 46.799 |  |  |  | 0
1942 | LOCS Std lg | 157.2 | 1389 | 1023 | 37.265 |  |  |  | 4.724
1942 | LOCS Std lg | 286.5 |  |  |  | 7388 | 8604 | 214.088 |  | -4.207
1942 | LOCS Std lg | 446.2 |  |  |  | 4858 | 5670 | 89.429 |  | 0
1942 | LOCS Std lg | 486.1 |  |  |  | 4863 | 5676 | 90.236 |  | -0.078
1943 | LOCS Std sm | 47.7 | 2496 | 1826 | 46.896 |  |  |  | -0.031
1943 | LOCS Std sm | 87.6 | 2498 | 1828 | 46.911 |  |  |  | 0
1943 | LOCS Std sm | 157.2 | 271 | 199 | 7.307 |  |  |  | 1.179
1943 | LOCS Std sm | 290.3 |  |  |  | 1537 | 1787 | 41.501 |  | -6.209
1943 | LOCS Std sm | 446.2 |  |  |  | 4861 | 5674 | 89.294 |  | 0
1943 | LOCS Std sm | 486.1 |  |  |  | 4858 | 5671 | 90.236 |  | -0.099
1944 | Sorghum Std | 47.7 | 2495 | 1826 | 46.871 |  |  |  | 0.024
1944 | Sorghum Std | 87.6 | 2495 | 1826 | 46.879 |  |  |  | 0
1944 | Sorghum Std | 156.1 | 378 | 276 | 9.92 |  |  |  | -1.982
1944 | Sorghum Std | 285.9 |  |  |  | 4876 | 5747 | 130.199 |  | 8.621
1944 | Sorghum Std | 446.2 |  |  |  | 4862 | 5675 | 89.459 |  | 0
1944 | Sorghum Std | 486.1 |  |  |  | 4869 | 5683 | 90.463 |  | -0.086
1945 | Sorghum Std | 47.7 | 2499 | 1828 | 46.961 |  |  |  | 0.054
1945 | Sorghum Std | 87.6 | 2501 | 1830 | 46.979 |  |  |  | 0
1945 | Sorghum Std | 156.3 | 383 | 280 | 10.073 |  |  |  | -1.236
1945 | Sorghum Std | 285.5 |  |  |  | 5295 | 6238 | 141.553 |  | 8.42
1945 | Sorghum Std | 446.2 |  |  |  | 4869 | 5683 | 89.566 |  | 0
1945 | Sorghum Std | 486.1 |  |  |  | 4875 | 5690 | 90.522 |  | -0.064
1946 | 16GUS-B1B:99.0-99.5 | 47.7 | 2501 | 1830 | 46.949 |  |  |  | 0.146
1946 | 16GUS-B1B:99.0-99.5 | 87.6 | 2501 | 1830 | 46.609 |  |  |  | 0
1946 | 16GUS-B1B:99.0-99.5 | 156.5 | 665 | 487 | 17.54 |  |  |  | -1.078
1946 | 16GUS-B1B:99.0-99.5 | 288 |  |  |  | 3700 | 4306 | 99.678 |  | -4.315
1946 | 16GUS-B1B:99.0-99.5 | 446.2 |  |  |  | 4872 | 5686 | 89.607 |  | 0
1946 | 16GUS-B1B:99.0-99.5 | 486.1 |  |  |  | 4874 | 5690 | 90.53 |  | -0.084
1947 | 16GUS-A2:105.5-106.0 | 47.7 | 2500 | 1829 | 46.967 |  |  |  | 0.008
1947 | 16GUS-A2:105.5-106.0 | 87.6 | 2498 | 1828 | 47.012 |  |  |  | 0
1947 | 16GUS-A2:105.5-106.0 | 156.3 | 343 | 251 | 9.053 |  |  |  | -2.432
1947 | 16GUS-A2:105.5-106.0 | 288.8 |  |  |  | 1841 | 2143 | 48.332 |  | -4.585
1947 | 16GUS-A2:105.5-106.0 | 446.2 |  |  |  | 4870 | 5684 | 89.496 |  | 0
1947 | 16GUS-A2:105.5-106.0 | 485.9 |  |  |  | 4883 | 5698 | 90.485 |  | -0.099
1948 | 16GUS-A1:101.0-101.5 | 47 | 2502 | 1830 | 46.989 |  |  |  | 0.043
1948 | 16GUS-A1:101.0-101.5 | 87.6 | 2501 | 1830 | 46.991 |  |  |  | 0
1948 | 16GUS-A1:101.0-101.5 | 156.8 | 434 | 318 | 11.521 |  |  |  | -1.017
1948 | 16GUS-A1:101.0-101.5 | 289 |  |  |  | 2157 | 2508 | 56.887 |  | -5.083
1948 | 16GUS-A1:101.0-101.5 | 446.2 |  |  |  | 4871 | 5686 | 89.549 |  | 0
1948 | 16GUS-A1:101.0-101.5 | 485.9 |  |  |  | 4877 | 5693 | 90.608 |  | -0.088
1949 | 16GUS-B1:101.0-101.5 | 47.7 | 2502 | 1831 | 47.018 |  |  |  | 0.001
1949 | 16GUS-B1:101.0-101.5 | 87.4 | 2503 | 1831 | 47.03 |  |  |  | 0
1949 | 16GUS-B1:101.0-101.5 | 156.5 | 529 | 387 | 13.829 |  |  |  | -1.485
1949 | 16GUS-B1:101.0-101.5 | 288.2 |  |  |  | 2738 | 3187 | 72.525 |  | -4.535
1949 | 16GUS-B1:101.0-101.5 | 446.2 |  |  |  | 4877 | 5692 | 89.613 |  | 0
1949 | 16GUS-B1:101.0-101.5 | 485.9 |  |  |  | 4880 | 5694 | 90.561 |  | -0.089
1950 | 16GUS-A2:109.0-109.5 | 47.7 | 2506 | 1833 | 47.025 |  |  |  | 0.037
1950 | 16GUS-A2:109.0-109.5 | 87.6 | 2504 | 1832 | 47.036 |  |  |  | 0
1950 | 16GUS-A2:109.0-109.5 | 156.1 | 393 | 288 | 10.276 |  |  |  | -0.727
1950 | 16GUS-A2:109.0-109.5 | 288.2 |  |  |  | 2321 | 2700 | 61.141 |  | -4.704
1950 | 16GUS-A2:109.0-109.5 | 446.2 |  |  |  | 4882 | 5698 | 89.761 |  | 0
1950 | 16GUS-A2:109.0-109.5 | 485.9 |  |  |  | 4888 | 5705 | 90.703 |  | -0.078
1951 | 16GUS-A2:103.0-103.5 | 47.4 | 2509 | 1836 | 47.118 |  |  |  | -0.039
1951 | 16GUS-A2:103.0-103.5 | 87.6 | 2507 | 1834 | 47.088 |  |  |  | 0
1951 | 16GUS-A2:103.0-103.5 | 156.8 | 573 | 420 | 15.004 |  |  |  | -0.554
1951 | 16GUS-A2:103.0-103.5 | 288.8 |  |  |  | 2776 | 3229 | 73.743 |  | -4.522
1951 | 16GUS-A2:103.0-103.5 | 446.2 |  |  |  | 4893 | 5711 | 89.864 |  | 0
1951 | 16GUS-A2:103.0-103.5 | 485.9 |  |  |  | 4891 | 5708 | 90.743 |  | -0.096
1952 | 16GUS-A2:102.5-103.0 | 47.7 | 2507 | 1835 | 47.121 |  |  |  | 0.012
1952 | 16GUS-A2:102.5-103.0 | 87.4 | 2509 | 1836 | 47.129 |  |  |  | 0
1952 | 16GUS-A2:102.5-103.0 | 156.1 | 335 | 246 | 8.795 |  |  |  | -1.051
1952 | 16GUS-A2:102.5-103.0 | 288.8 |  |  |  | 1721 | 2002 | 45.128 |  | -4.935
1952 | 16GUS-A2:102.5-103.0 | 446.2 |  |  |  | 4885 | 5702 | 89.826 |  | 0
1952 | 16GUS-A2:102.5-103.0 | 485.9 |  |  |  | 4892 | 5710 | 90.7 |  | -0.073
1953 | 16GUS-A2:108.5-109.0 | 47.7 | 2509 | 1835 | 47.11 |  |  |  | 0.023
1953 | 16GUS-A2:108.5-109.0 | 87.4 | 2507 | 1834 | 47.094 |  |  |  | 0
1953 | 16GUS-A2:108.5-109.0 | 156.8 | 397 | 290 | 10.379 |  |  |  | -0.929
1953 | 16GUS-A2:108.5-109.0 | 288.8 |  |  |  | 2271 | 2642 | 59.734 |  | -4.926
1953 | 16GUS-A2:108.5-109.0 | 446.2 |  |  |  | 4886 | 5703 | 89.918 |  | 0
1953 | 16GUS-A2:108.5-109.0 | 485.9 |  |  |  | 4889 | 5706 | 90.694 |  | -0.099
1954 | 16GUS-A2:107.0-107.5 | 47.7 | 2511 | 1837 | 47.112 |  |  |  | -0.012
1954 | 16GUS-A2:107.0-107.5 | 87.6 | 2512 | 1838 | 47.141 |  |  |  | 0
1954 | 16GUS-A2:107.0-107.5 | 157 | 477 | 349 | 12.469 |  |  |  | -1.115
1954 | 16GUS-A2:107.0-107.5 | 288.6 |  |  |  | 2721 | 3167 | 71.941 |  | -4.371
1954 | 16GUS-A2:107.0-107.5 | 446.2 |  |  |  | 4894 | 5712 | 89.935 |  | 0
1954 | 16GUS-A2:107.0-107.5 | 485.9 |  |  |  | 4899 | 5718 | 90.88 |  | -0.083
1955 | 16GUS-A2:102.5-103.0 | 47 | 2511 | 1838 | 47.177 |  |  |  | 0.01
1955 | 16GUS-A2:102.5-103.0 | 87.6 | 2506 | 1834 | 47.119 |  |  |  | 0
1955 | 16GUS-A2:102.5-103.0 | 156.8 | 420 | 307 | 10.984 |  |  |  | -0.889
1955 | 16GUS-A2:102.5-103.0 | 289 |  |  |  | 2184 | 2542 | 57.518 |  | -4.668
1955 | 16GUS-A2:102.5-103.0 | 446.2 |  |  |  | 4889 | 5706 | 89.858 |  | 0
1955 | 16GUS-A2:102.5-103.0 | 485.9 |  |  |  | 4893 | 5711 | 90.852 |  | -0.096
1956 | Urea Std | 47.7 | 2510 | 1836 | 47.156 |  |  |  | -0.005
1956 | Urea Std | 87.6 | 2510 | 1837 | 47.135 |  |  |  | 0
1956 | Urea Std | 155.1 | 32218 | 23541 | 805.605 |  |  |  | -2.286
1956 | Urea Std | 284.4 |  |  |  | 6094 | 6987 | 161.207 |  | -21.102
1956 | Urea Std | 446.2 |  |  |  | 4896 | 5714 | 90.135 |  | 0
1956 | Urea Std | 486.1 |  |  |  | 4899 | 5717 | 91.035 |  | -0.081
1957 | Urea Std | 47.7 | 2516 | 1841 | 47.303 |  |  |  | 0.001
1957 | Urea Std | 87.6 | 2518 | 1842 | 47.283 |  |  |  | 0
1957 | Urea Std | 155.3 | 33093 | 24180 | 827.979 |  |  |  | -2.279
1957 | Urea Std | 284.9 |  |  |  | 6249 | 7163 | 165.65 |  | -21.081
1957 | Urea Std | 446.2 |  |  |  | 4901 | 5720 | 90.236 |  | 0
1957 | Urea Std | 486.1 |  |  |  | 4909 | 5729 | 91.028 |  | -0.07
1958 | 16GUS-A2:104.0-104.5 | 47 | 2515 | 1840 | 47.224 |  |  |  | -0.02
1958 | 16GUS-A2:104.0-104.5 | 87.4 | 2515 | 1840 | 47.235 |  |  |  | 0
1958 | 16GUS-A2:104.0-104.5 | 156.5 | 325 | 238 | 8.546 |  |  |  | -0.832
1958 | 16GUS-A2:104.0-104.5 | 289.3 |  |  |  | 1593 | 1853 | 42.237 |  | -5.075
1958 | 16GUS-A2:104.0-104.5 | 446.2 |  |  |  | 4898 | 5716 | 90.066 |  | 0
1958 | 16GUS-A2:104.0-104.5 | 485.9 |  |  |  | 4903 | 5722 | 90.974 |  | -0.101
1959 | 16GUS-A2:108.0-108.5 | 47.7 | 2516 | 1841 | 47.218 |  |  |  | -0.012
1959 | 16GUS-A2:108.0-108.5 | 87.6 | 2514 | 1840 | 47.225 |  |  |  | 0
1959 | 16GUS-A2:108.0-108.5 | 157 | 464 | 339 | 12.247 |  |  |  | -1.347
1959 | 16GUS-A2:108.0-108.5 | 288.8 |  |  |  | 2729 | 3176 | 72.324 |  | -4.496
1959 | 16GUS-A2:108.0-108.5 | 446.2 |  |  |  | 4905 | 5725 | 90.188 |  | 0
1959 | 16GUS-A2:108.0-108.5 | 485.9 |  |  |  | 4906 | 5726 | 91.102 |  | -0.082
1960 | 16GUS-A2:105.0-105.5 | 47.7 | 2514 | 1839 | 47.161 |  |  |  | -0.002
1960 | 16GUS-A2:105.0-105.5 | 87.6 | 2513 | 1838 | 47.213 |  |  |  | 0
1960 | 16GUS-A2:105.0-105.5 | 156.1 | 467 | 342 | 12.23 |  |  |  | -1.216
1960 | 16GUS-A2:105.0-105.5 | 288.2 |  |  |  | 2552 | 2969 | 68.254 |  | -4.334
1960 | 16GUS-A2:105.0-105.5 | 446.2 |  |  |  | 4897 | 5715 | 90.12 |  | 0
1960 | 16GUS-A2:105.0-105.5 | 485.9 |  |  |  | 4901 | 5719 | 90.904 |  | -0.103
1961 | 16GUS-A2:109.5-110.0 | 47.2 | 2512 | 1838 | 47.196 |  |  |  | 0.003
1961 | 16GUS-A2:109.5-110.0 | 87.4 | 2513 | 1839 | 47.209 |  |  |  | 0
1961 | 16GUS-A2:109.5-110.0 | 156.1 | 328 | 240 | 8.552 |  |  |  | -1.197
1961 | 16GUS-A2:109.5-110.0 | 288.6 |  |  |  | 1843 | 2143 | 48.276 |  | -4.954
1961 | 16GUS-A2:109.5-110.0 | 446.2 |  |  |  | 4906 | 5726 | 90.097 |  | 0
1961 | 16GUS-A2:109.5-110.0 | 485.9 |  |  |  | 4901 | 5720 | 91.057 |  | -0.082
1962 | 16GUS-A2:106.0-106.5 | 47.7 | 2516 | 1840 | 47.26 |  |  |  | -0.013
1962 | 16GUS-A2:106.0-106.5 | 87.6 | 2517 | 1842 | 47.262 |  |  |  | 0
1962 | 16GUS-A2:106.0-106.5 | 155.9 | 608 | 445 | 15.855 |  |  |  | -1.404
1962 | 16GUS-A2:106.0-106.5 | 287.8 |  |  |  | 3302 | 3844 | 88.265 |  | -4.089
1962 | 16GUS-A2:106.0-106.5 | 446.2 |  |  |  | 4903 | 5722 | 90.195 |  | 0
1962 | 16GUS-A2:106.0-106.5 | 486.1 |  |  |  | 4904 | 5724 | 91.218 |  | -0.086
1963 | 16GUS-A2:100.0-100.5 | 47.7 | 2518 | 1842 | 47.218 |  |  |  | -0.012
1963 | 16GUS-A2:100.0-100.5 | 87.6 | 2517 | 1842 | 47.245 |  |  |  | 0
1963 | 16GUS-A2:100.0-100.5 | 156.5 | 475 | 348 | 12.53 |  |  |  | -1.426
1963 | 16GUS-A2:100.0-100.5 | 289 |  |  |  | 2344 | 2725 | 62.965 |  | -4.791
1963 | 16GUS-A2:100.0-100.5 | 446.2 |  |  |  | 4908 | 5728 | 90.238 |  | 0
1963 | 16GUS-A2:100.0-100.5 | 485.9 |  |  |  | 4910 | 5730 | 91.052 |  | -0.088
1964 | 16GUS-A2:102.0-102.5 | 47 | 2517 | 1841 | 47.324 |  |  |  | -0.001
1964 | 16GUS-A2:102.0-102.5 | 87.6 | 2516 | 1841 | 47.278 |  |  |  | 0
1964 | 16GUS-A2:102.0-102.5 | 156.1 | 292 | 214 | 7.796 |  |  |  | -0.732
1964 | 16GUS-A2:102.0-102.5 | 289 |  |  |  | 1690 | 1966 | 44.453 |  | -4.753
1964 | 16GUS-A2:102.0-102.5 | 446.2 |  |  |  | 4902 | 5722 | 90.207 |  | 0
1964 | 16GUS-A2:102.0-102.5 | 485.9 |  |  |  | 4906 | 5726 | 91.115 |  | -0.086
1965 | 16GUS-A2:107.5-108.0 | 47.7 | 2520 | 1844 | 47.303 |  |  |  | -0.002
1965 | 16GUS-A2:107.5-108.0 | 87.2 | 2516 | 1841 | 47.225 |  |  |  | 0
1965 | 16GUS-A2:107.5-108.0 | 155.9 | 606 | 444 | 16.439 |  |  |  | -1.738
1965 | 16GUS-A2:107.5-108.0 | 287.4 |  |  |  | 3488 | 4059 | 93.202 |  | -4.3
1965 | 16GUS-A2:107.5-108.0 | 446.2 |  |  |  | 4909 | 5728 | 90.262 |  | 0
1965 | 16GUS-A2:107.5-108.0 | 485.9 |  |  |  | 4909 | 5729 | 91.253 |  | -0.082
1966 | 16GUS-A2:101.5-102.0 | 47.7 | 2518 | 1842 | 47.295 |  |  |  | 0.032
1966 | 16GUS-A2:101.5-102.0 | 87.4 | 2520 | 1844 | 47.254 |  |  |  | 0
1966 | 16GUS-A2:101.5-102.0 | 156.1 | 344 | 252 | 9.835 |  |  |  | -1.821
1966 | 16GUS-A2:101.5-102.0 | 289 |  |  |  | 1709 | 1986 | 45.086 |  | -5.405
1966 | 16GUS-A2:101.5-102.0 | 446.2 |  |  |  | 4912 | 5733 | 90.366 |  | 0
1966 | 16GUS-A2:101.5-102.0 | 485.9 |  |  |  | 4914 | 5735 | 91.301 |  | -0.108
1967 | 16GUS-A2:104.5-105.0 | 47.9 | 2519 | 1843 | 47.305 |  |  |  | 0.062
1967 | 16GUS-A2:104.5-105.0 | 87.6 | 2519 | 1843 | 47.335 |  |  |  | 0
1967 | 16GUS-A2:104.5-105.0 | 156.1 | 530 | 388 | 14.969 |  |  |  | -1.881
1967 | 16GUS-A2:104.5-105.0 | 288 |  |  |  | 2721 | 3166 | 71.912 |  | -4.607
1967 | 16GUS-A2:104.5-105.0 | 446.2 |  |  |  | 4916 | 5737 | 90.392 |  | 0
1967 | 16GUS-A2:104.5-105.0 | 486.1 |  |  |  | 4927 | 5750 | 91.374 |  | -0.081
1968 | Acetanilide Std | 47.7 | 2523 | 1846 | 47.409 |  |  |  | 0.004
1968 | Acetanilide Std | 87.6 | 2522 | 1846 | 47.383 |  |  |  | 0
1968 | Acetanilide Std | 155.7 | 2079 | 1518 | 55.021 |  |  |  | -3.307
1968 | Acetanilide Std | 284.2 |  |  |  | 6735 | 7832 | 180.482 |  | -6.028
1968 | Acetanilide Std | 446.2 |  |  |  | 4927 | 5749 | 90.733 |  | 0
1968 | Acetanilide Std | 486.1 |  |  |  | 4929 | 5752 | 91.462 |  | -0.062
1969 | Acetanilide Std | 47.7 | 2524 | 1847 | 47.431 |  |  |  | 0.008
1969 | Acetanilide Std | 87.6 | 2525 | 1848 | 47.405 |  |  |  | 0
1969 | Acetanilide Std | 154.9 | 3378 | 2467 | 87.196 |  |  |  | -3.062
1969 | Acetanilide Std | 281.3 |  |  |  | 10722 | 12474 | 290.538 |  | -6.026
1969 | Acetanilide Std | 446.2 |  |  |  | 4935 | 5759 | 90.825 |  | 0
1969 | Acetanilide Std | 486.1 |  |  |  | 4930 | 5753 | 91.518 |  | -0.067
1970 | 16GUS-B1B:107.0-107.5 | 47.7 | 2531 | 1852 | 47.527 |  |  |  | 0.021
1970 | 16GUS-B1B:107.0-107.5 | 87.2 | 2528 | 1850 | 47.48 |  |  |  | 0
1970 | 16GUS-B1B:107.0-107.5 | 157.2 | 591 | 433 | 18.119 |  |  |  | -2.585
1970 | 16GUS-B1B:107.0-107.5 | 289 |  |  |  | 2984 | 3473 | 82.035 |  | -4.106
1970 | 16GUS-B1B:107.0-107.5 | 446.2 |  |  |  | 4931 | 5754 | 90.715 |  | 0
1970 | 16GUS-B1B:107.0-107.5 | 485.9 |  |  |  | 4931 | 5755 | 91.545 |  | -0.057
1971 | 16GUS-A2:100.5-101.0 | 47.7 | 2527 | 1849 | 47.502 |  |  |  | 0
1971 | 16GUS-A2:100.5-101.0 | 86.5 | 2528 | 1850 | 47.476 |  |  |  | 0
1971 | 16GUS-A2:100.5-101.0 | 156.5 | 482 | 353 | 15.989 |  |  |  | -3.122
1971 | 16GUS-A2:100.5-101.0 | 288.8 |  |  |  | 2322 | 2699 | 61.301 |  | -4.979
1971 | 16GUS-A2:100.5-101.0 | 446.2 |  |  |  | 4930 | 5754 | 90.76 |  | 0
1971 | 16GUS-A2:100.5-101.0 | 485.9 |  |  |  | 4932 | 5755 | 91.553 |  | -0.085
1972 | 16GUS-B1B:97.0-97.5 | 47.4 | 2530 | 1851 | 47.465 |  |  |  | -0.019
1972 | 16GUS-B1B:97.0-97.5 | 87.4 | 2529 | 1851 | 47.467 |  |  |  | 0
1972 | 16GUS-B1B:97.0-97.5 | 155.9 | 680 | 498 | 20.549 |  |  |  | -2.487
1972 | 16GUS-B1B:97.0-97.5 | 287.6 |  |  |  | 3528 | 4106 | 96.509 |  | -4.244
1972 | 16GUS-B1B:97.0-97.5 | 446.2 |  |  |  | 4932 | 5756 | 90.646 |  | 0
1972 | 16GUS-B1B:97.0-97.5 | 485.9 |  |  |  | 4940 | 5764 | 91.693 |  | -0.076
1973 | 16GUS-B1B:105.0-105.5 | 47.7 | 2528 | 1850 | 47.549 |  |  |  | 0.006
1973 | 16GUS-B1B:105.0-105.5 | 87.6 | 2530 | 1851 | 47.561 |  |  |  | 0
1973 | 16GUS-B1B:105.0-105.5 | 156.1 | 525 | 384 | 15.932 |  |  |  | -2.356
1973 | 16GUS-B1B:105.0-105.5 | 288.4 |  |  |  | 2712 | 3156 | 71.915 |  | -3.946
1973 | 16GUS-B1B:105.0-105.5 | 446.2 |  |  |  | 4933 | 5757 | 90.87 |  | 0
1973 | 16GUS-B1B:105.0-105.5 | 485.9 |  |  |  | 4939 | 5764 | 91.59 |  | -0.105
1974 | 16GUS-B1B:106.5-107.0 | 47.4 | 2533 | 1853 | 47.563 |  |  |  | 0.028
1974 | 16GUS-B1B:106.5-107.0 | 87.6 | 2531 | 1852 | 47.56 |  |  |  | 0
1974 | 16GUS-B1B:106.5-107.0 | 156.3 | 396 | 290 | 12.524 |  |  |  | -3.056
1974 | 16GUS-B1B:106.5-107.0 | 288.6 |  |  |  | 2211 | 2572 | 58.122 |  | -4.127
1974 | 16GUS-B1B:106.5-107.0 | 446.2 |  |  |  | 4942 | 5769 | 90.846 |  | 0
1974 | 16GUS-B1B:106.5-107.0 | 485.9 |  |  |  | 4946 | 5772 | 91.818 |  | -0.106
1975 | 16GUS-B1B:109.0-109.5 | 47.4 | 2532 | 1852 | 47.573 |  |  |  | 0.012
1975 | 16GUS-B1B:109.0-109.5 | 87.4 | 2531 | 1852 | 47.55 |  |  |  | 0
1975 | 16GUS-B1B:109.0-109.5 | 156.8 | 594 | 435 | 17.98 |  |  |  | -2.229
1975 | 16GUS-B1B:109.0-109.5 | 288.4 |  |  |  | 3036 | 3532 | 80.293 |  | -4.502
1975 | 16GUS-B1B:109.0-109.5 | 446.2 |  |  |  | 4940 | 5765 | 90.915 |  | 0
1975 | 16GUS-B1B:109.0-109.5 | 485.9 |  |  |  | 4948 | 5774 | 91.824 |  | -0.096
1976 | 16GUS-B1B:103.0-103.5 | 46.8 | 2532 | 1853 | 47.622 |  |  |  | 0.017
1976 | 16GUS-B1B:103.0-103.5 | 87.6 | 2534 | 1854 | 47.601 |  |  |  | 0
1976 | 16GUS-B1B:103.0-103.5 | 156.3 | 244 | 179 | 9.295 |  |  |  | -3.964
1976 | 16GUS-B1B:103.0-103.5 | 289.3 |  |  |  | 1313 | 1527 | 34.426 |  | -4.857
1976 | 16GUS-B1B:103.0-103.5 | 446.2 |  |  |  | 4939 | 5764 | 90.784 |  | 0
1976 | 16GUS-B1B:103.0-103.5 | 485.9 |  |  |  | 4952 | 5779 | 91.757 |  | -0.094
1977 | 16GUS-A2:103.5-104.0 | 47.4 | 2535 | 1855 | 47.705 |  |  |  | 0.032
1977 | 16GUS-A2:103.5-104.0 | 87.4 | 2536 | 1856 | 47.725 |  |  |  | 0
1977 | 16GUS-A2:103.5-104.0 | 156.8 | 428 | 313 | 14.132 |  |  |  | -2.374
1977 | 16GUS-A2:103.5-104.0 | 288.8 |  |  |  | 2118 | 2464 | 55.451 |  | -4.428
1977 | 16GUS-A2:103.5-104.0 | 446.2 |  |  |  | 4944 | 5770 | 90.73 |  | 0
1977 | 16GUS-A2:103.5-104.0 | 485.9 |  |  |  | 4949 | 5775 | 91.908 |  | -0.083
1978 | 16GUS-A2:107.0-107.5 | 47.7 | 2538 | 1858 | 47.675 |  |  |  | 0.007
1978 | 16GUS-A2:107.0-107.5 | 86.9 | 2536 | 1856 | 47.64 |  |  |  | 0
1978 | 16GUS-A2:107.0-107.5 | 156.5 | 595 | 435 | 17.98 |  |  |  | -2.367
1978 | 16GUS-A2:107.0-107.5 | 288.2 |  |  |  | 3328 | 3873 | 88.038 |  | -4.135
1978 | 16GUS-A2:107.0-107.5 | 446.2 |  |  |  | 4949 | 5776 | 90.999 |  | 0
1978 | 16GUS-A2:107.0-107.5 | 485.9 |  |  |  | 4950 | 5776 | 91.829 |  | -0.092
1979 | LOCS Std lg | 47.7 | 2538 | 1857 | 47.687 |  |  |  | -0.013
1979 | LOCS Std lg | 87.6 | 2538 | 1857 | 47.694 |  |  |  | 0
1979 | LOCS Std lg | 156.8 | 1636 | 1204 | 45.983 |  |  |  | 4.167
1979 | LOCS Std lg | 285.1 |  |  |  | 8683 | 10115 | 245.872 |  | -4.179
1979 | LOCS Std lg | 446.2 |  |  |  | 4956 | 5784 | 91.383 |  | 0
1979 | LOCS Std lg | 485.9 |  |  |  | 4955 | 5782 | 92.065 |  | -0.056
1980 | LOCS Std sm | 47.7 | 2541 | 1860 | 47.798 |  |  |  | 0.111
1980 | LOCS Std sm | 87.6 | 2543 | 1861 | 47.78 |  |  |  | 0
1980 | LOCS Std sm | 157 | 377 | 278 | 13.705 |  |  |  | -0.714
1980 | LOCS Std sm | 289.9 |  |  |  | 2022 | 2349 | 54.377 |  | -6.815
1980 | LOCS Std sm | 446.2 |  |  |  | 4957 | 5785 | 91.187 |  | 0
1980 | LOCS Std sm | 485.9 |  |  |  | 4959 | 5786 | 92.021 |  | -0.063
1981 | LOCS Std lg | 47.7 | 2543 | 1861 | 47.711 |  |  |  | 0.021
1981 | LOCS Std lg | 87.6 | 2541 | 1859 | 47.762 |  |  |  | 0
1981 | LOCS Std lg | 156.8 | 1632 | 1202 | 44.921 |  |  |  | 4.368
1981 | LOCS Std lg | 285.3 |  |  |  | 8771 | 10217 | 248.23 |  | -4.091
1981 | LOCS Std lg | 446.2 |  |  |  | 4954 | 5781 | 91.433 |  | 0
1981 | LOCS Std lg | 486.1 |  |  |  | 4960 | 5788 | 92.28 |  | -0.063
1982 | LOCS Std sm | 47.7 | 2544 | 1862 | 47.806 |  |  |  | 0.01
1982 | LOCS Std sm | 87.6 | 2543 | 1861 | 47.748 |  |  |  | 0
1982 | LOCS Std sm | 157.2 | 435 | 320 | 13.351 |  |  |  | 1.405
1982 | LOCS Std sm | 289.9 |  |  |  | 2395 | 2783 | 66.005 |  | -7.704
1982 | LOCS Std sm | 446.2 |  |  |  | 4967 | 5796 | 91.364 |  | 0
1982 | LOCS Std sm | 485.9 |  |  |  | 4962 | 5790 | 92.137 |  | -0.077

## CO2 Samples
Analysis | Identifier 1 | Sample Mass | Top Depth | Rt | Ampl 44 | Ampl 45 | Area 44 | measured d 13C/12C (‰) | Convert to ‰ VPDB (SorgUrea) | Area correction (‰, VPDB) | Final value (‰, VPDB) | Calibrated C mass | % C weight
1963 | 16GUS-A2:100.0-100.5 | 0.00145 | 100 | 289 | 2344 | 2725 | 62.965 | -4.791 | -27.0322 | 0.26557 | -26.7666 | 0.0001113 | 7.6759
1971 | 16GUS-A2:100.5-101.0 | 0.00148 | 100.5 | 288.8 | 2322 | 2699 | 61.301 | -4.979 | -27.2194 | 0.27055 | -26.9488 | 0.00010872 | 7.3458
1948 | 16GUS-A2:101.0-101.5 | 0.00138 | 101 | 289 | 2157 | 2508 | 56.887 | -5.083 | -27.3229 | 0.28378 | -27.0391 | 0.00010187 | 7.3816
1966 | 16GUS-A2:101.5-102.0 | 0.00105 | 101.5 | 289 | 1709 | 1986 | 45.086 | -5.405 | -27.6434 | 0.31913 | -27.3243 | 8.3549e-05 | 7.9571
1964 | 16GUS-A2:102.0-102.5 | 0.00197 | 102 | 289 | 1690 | 1966 | 44.453 | -4.753 | -26.9944 | 0.32103 | -26.6733 | 8.2567e-05 | 4.1912
1952 | 16GUS-A2:102.5-103.0 | 0.00117 | 102.5 | 288.8 | 1721 | 2002 | 45.128 | -4.935 | -27.1756 | 0.31901 | -26.8565 | 8.3614e-05 | 7.1465
1955 | 16GUS-A2:102.5-103.0 | 0.00142 | 102.5 | 289 | 2184 | 2542 | 57.518 | -4.668 | -26.9097 | 0.28189 | -26.6279 | 0.00010285 | 7.2426
1951 | 16GUS-A2:103.0-103.5 | 0.00156 | 103 | 288.8 | 2776 | 3229 | 73.743 | -4.522 | -26.7644 | 0.23328 | -26.5311 | 0.00012803 | 8.207
1977 | 16GUS-A2:103.5-104.0 | 0.00123 | 103.5 | 288.8 | 2118 | 2464 | 55.451 | -4.428 | -26.6708 | 0.28808 | -26.3827 | 9.9637e-05 | 8.1006
1958 | 16GUS-A2:104.0-104.5 | 0.0009 | 104 | 289.3 | 1593 | 1853 | 42.237 | -5.075 | -27.3149 | 0.32767 | -26.9873 | 7.9127e-05 | 8.7919
1967 | 16GUS-A2:104.5-105.0 | 0.00152 | 104.5 | 288 | 2721 | 3166 | 71.912 | -4.607 | -26.849 | 0.23876 | -26.6103 | 0.00012519 | 8.236
1960 | 16GUS-A2:105.0-105.5 | 0.0014 | 105 | 288.2 | 2552 | 2969 | 68.254 | -4.334 | -26.5772 | 0.24972 | -26.3275 | 0.00011951 | 8.5364
1947 | 16GUS-A2:105.5-106.0 | 0.00104 | 105.5 | 288.8 | 1841 | 2143 | 48.332 | -4.585 | -26.8271 | 0.30941 | -26.5177 | 8.8587e-05 | 8.518
1962 | 16GUS-A2:106.0-106.5 | 0.00173 | 106 | 287.8 | 3302 | 3844 | 88.265 | -4.089 | -26.3333 | 0.18977 | -26.1436 | 0.00015057 | 8.7034
1954 | 16GUS-A2:106.5-107.0 | 0.00141 | 106.5 | 288.6 | 2721 | 3167 | 71.941 | -4.371 | -26.6141 | 0.23868 | -26.3754 | 0.00012523 | 8.8817
1978 | 16GUS-A2:107.0-107.5 | 0.0017 | 107 | 288.2 | 3328 | 3873 | 88.038 | -4.135 | -26.3791 | 0.19045 | -26.1887 | 0.00015022 | 8.8363
1965 | 16GUS-A2:107.5-108.0 | 0.00174 | 107.5 | 287.4 | 3488 | 4059 | 93.202 | -4.3 | -26.5434 | 0.17498 | -26.3684 | 0.00015823 | 9.0938
1959 | 16GUS-A2:108.0-108.5 | 0.00136 | 108 | 288.8 | 2729 | 3176 | 72.324 | -4.496 | -26.7385 | 0.23753 | -26.501 | 0.00012583 | 9.252
1953 | 16GUS-A2:108.5-109.0 | 0.00123 | 108.5 | 288.8 | 2271 | 2642 | 59.734 | -4.926 | -27.1666 | 0.27525 | -26.8913 | 0.00010629 | 8.6411
1950 | 16GUS-A2:109.0-109.5 | 0.0011 | 109 | 288.2 | 2321 | 2700 | 61.141 | -4.704 | -26.9456 | 0.27103 | -26.6746 | 0.00010847 | 9.8608
1961 | 16GUS-A2:109.5-110.0 | 0.00099 | 109.5 | 288.6 | 1843 | 2143 | 48.276 | -4.954 | -27.1945 | 0.30958 | -26.8849 | 8.8501e-05 | 8.9395
1972 | 16GUS-B1B:097.0-097.5 | 0.00175 | 97 | 287.6 | 3528 | 4106 | 96.509 | -4.244 | -26.4876 | 0.16507 | -26.3226 | 0.00016337 | 9.3352
1946 | 16GUS-B1B:099.0-099.5 | 0.00186 | 99 | 288 | 3700 | 4306 | 99.678 | -4.315 | -26.5583 | 0.15558 | -26.4028 | 0.00016828 | 9.0475
1949 | 16GUS-B1B:101.0-101.5 | 0.00153 | 101 | 288.2 | 2738 | 3187 | 72.525 | -4.535 | -26.7773 | 0.23693 | -26.5404 | 0.00012614 | 8.2444
1976 | 16GUS-B1B:103.0-103.5 | 0.00122 | 103 | 289.3 | 1313 | 1527 | 34.426 | -4.857 | -27.0979 | 0.35107 | -26.7468 | 6.7003e-05 | 5.4921
1973 | 16GUS-B1B:105.0-105.5 | 0.0015 | 105 | 288.4 | 2712 | 3156 | 71.915 | -3.946 | -26.191 | 0.23875 | -25.9522 | 0.00012519 | 8.3461
1974 | 16GUS-B1B:106.5-107.0 | 0.00113 | 106.5 | 288.6 | 2211 | 2572 | 58.122 | -4.127 | -26.3712 | 0.28008 | -26.0911 | 0.00010378 | 9.1843
1970 | 16GUS-B1B:107.0-107.5 | 0.00157 | 107 | 289 | 2984 | 3473 | 82.035 | -4.106 | -26.3503 | 0.20844 | -26.1418 | 0.0001409 | 8.9745
1975 | 16GUS-B1B:109.0-109.5 | 0.0016 | 109 | 288.4 | 3036 | 3532 | 80.293 | -4.502 | -26.7445 | 0.21365 | -26.5308 | 0.0001382 | 8.6372
[6 empty] | min area | 34.426
[6 empty] | max area | 99.678

## CO2 Stds
Analysis | Identifier 1 | Rt | Ampl 44 | Ampl 45 | Area 44 | Measured d13C/12C (‰) | Known Value (‰, VPDB) | SorgUrea slope | SorgUrea intercept | convert to ‰, VPDB using SorgUrea | diff from known (‰, VPDB) (ACCURACY) | linearity correction slope | linearity correction intercept | Std Mass | % C Wt | Mass C (g) | Conc slope | Conc Intercept | Converted C | Converted % C | diff from known %C (ACCURACY)
1968 | Acetanilide Std | 284.2 | 6735 | 7832 | 180.482 | -6.028 | -29.5 | 0.99552 | -22.2627 | -28.2637 | -1.2363 |  |  | 0.00032 | 71.09 | 0.00022749 | 1.5522e-06 | 1.3569e-05 | 0.0002937 | 91.7825 | -20.6925
1969 | Acetanilide Std | 281.3 | 10722 | 12474 | 290.538 | -6.026 | -29.5 | 0.99552 | -22.2627 | -28.2617 | -1.2383 | >100 | >100 | 0.0006 | 71.09 | 0.00042654 |  |  | 0.00046453 | 77.4213 | -6.3313
1940 | LOCS Std lg | 286.5 | 6739 | 7850 | 193.814 | -4.302 | -26.66 | 0.99552 | -22.2627 | -26.5454 | -0.11461 | -0.002996 | 0.45421 | 0.02132 | 1.61 | 0.00034325 |  |  | 0.0003144 | 1.4747 | 0.13534
1942 | LOCS Std lg | 286.5 | 7388 | 8604 | 214.088 | -4.207 | -26.66 | 0.99552 | -22.2627 | -26.4508 | -0.20919 | -0.002996 | 0.45421 | 0.02323 | 1.61 | 0.000374 |  |  | 0.00034587 | 1.4889 | 0.12112
1979 | LOCS Std lg | 285.1 | 8683 | 10115 | 245.872 | -4.179 | -26.66 | 0.99552 | -22.2627 | -26.4229 | -0.23706 | -0.002996 | 0.45421 | 0.02613 | 1.61 | 0.00042069 |  |  | 0.0003952 | 1.5124 | 0.097565
1981 | LOCS Std lg | 285.3 | 8771 | 10217 | 248.23 | -4.091 | -26.66 | 0.99552 | -22.2627 | -26.3353 | -0.32467 | -0.002996 | 0.45421 | 0.02559 | 1.61 | 0.000412 |  |  | 0.00039886 | 1.5587 | 0.051347
1941 | LOCS Std sm | 289.3 | 1579 | 1835 | 43.574 | -6.535 | -26.66 | 0.99552 | -22.2627 | -28.7684 | 2.1084 | 0.055268 | -0.45092 | 0.00503 | 1.61 | 8.0983e-05 |  |  | 8.1202e-05 | 1.6144 | -0.0043608
1943 | LOCS Std sm | 290.3 | 1537 | 1787 | 41.501 | -6.209 | -26.66 | 0.99552 | -22.2627 | -28.4438 | 1.7838 | 0.055268 | -0.45092 | 0.00443 | 1.61 | 7.1323e-05 |  |  | 7.7985e-05 | 1.7604 | -0.15038
1980 | LOCS Std sm | 289.9 | 2022 | 2349 | 54.377 | -6.815 | -26.66 | 0.99552 | -22.2627 | -29.0471 | 2.3871 | 0.055268 | -0.45092 | 0.00584 | 1.61 | 9.4024e-05 |  |  | 9.797e-05 | 1.6776 | -0.067572
1982 | LOCS Std sm | 289.9 | 2395 | 2783 | 66.005 | -7.704 | -26.66 | 0.99552 | -22.2627 | -29.9321 | 3.2721 | 0.055268 | -0.45092 | 0.00683 | 1.61 | 0.00010996 |  |  | 0.00011602 | 1.6987 | -0.088662
1944 | Sorghum Std | 285.9 | 4876 | 5747 | 130.199 | 8.621 | -13.78 | 0.99552 | -22.2627 | -13.6803 | -0.099706 | <100 | <100 | 0.00065 | 41.26 | 0.00026819 |  |  | 0.00021566 | 33.1781 | 8.0819
1945 | Sorghum Std | 285.5 | 5295 | 6238 | 141.553 | 8.42 | -13.78 | 0.99552 | -22.2627 | -13.8804 | 0.10039 |  |  | 0.00053 | 41.26 | 0.00021868 |  |  | 0.00023328 | 44.0152 | -2.7552
1956 | Urea Std | 284.4 | 6094 | 6987 | 161.207 | -21.102 | -43.26 | 0.99552 | -22.2627 | -43.2701 | 0.01011 |  |  | 0.00128 | 20 | 0.000256 |  |  | 0.00026379 | 20.6083 | -0.60831
1957 | Urea Std | 284.9 | 6249 | 7163 | 165.65 | -21.081 | -43.26 | 0.99552 | -22.2627 | -43.2492 | -0.010796 |  |  | 0.00133 | 20 | 0.000266 |  |  | 0.00027068 | 20.3521 | -0.35208

## N2 Samples
Analysis | Identifier 1 | Sample Mass | Top Depth | Rt | Ampl 28 | Ampl 29 | Area 28 | d 15N/14N | Convert to ‰ Air (AcetLOCSlg) | Area correction (‰, Air) | Final value (‰, Air) | Convert to ‰ Air (UreaLOCSlg) | Area correction (‰, Air) | Final value (‰, Air) | Calibrated N mass | % N weight
1963 | 16GUS-A2:100.0-100.5 | 0.00145 | 100 | 156.5 | 475 | 348 | 12.53 | -1.426 | 1.8608 | -0.85067 | 1.0101 | -0.64082 | 3.0245 | 2.3837 | 9.971e-06 | 0.68766
1971 | 16GUS-A2:100.5-101.0 | 0.00148 | 100.5 | 156.5 | 482 | 353 | 15.989 | -3.122 | 1.7656 | -0.74447 | 1.0211 | -0.77988 | 3.8464 | 3.0666 | 1.2382e-05 | 0.83661
1948 | 16GUS-A2:101.0-101.5 | 0.00138 | 101 | 156.8 | 434 | 318 | 11.521 | -1.017 | 2.9325 | -0.88165 | 2.0508 | 0.9237 | 2.7847 | 3.7084 | 9.2678e-06 | 0.67158
1966 | 16GUS-A2:101.5-102.0 | 0.00105 | 101.5 | 156.1 | 344 | 252 | 9.835 | -1.821 | 3.0023 | -0.93341 | 2.0689 | 1.0257 | 2.3841 | 3.4098 | 8.0927e-06 | 0.77073
1964 | 16GUS-A2:102.0-102.5 | 0.00197 | 102 | 156.1 | 292 | 214 | 7.796 | -0.732 | 2.3601 | -0.99601 | 1.3641 | 0.088132 | 1.8996 | 1.9877 | 6.6715e-06 | 0.33866
1952 | 16GUS-A2:102.5-103.0 | 0.00117 | 102.5 | 156.1 | 335 | 246 | 8.795 | -1.051 | 3.0341 | -0.96534 | 2.0687 | 1.072 | 2.137 | 3.209 | 7.3678e-06 | 0.62973
1955 | 16GUS-A2:102.5-103.0 | 0.00142 | 102.5 | 156.8 | 420 | 307 | 10.984 | -0.889 | 3.0793 | -0.89813 | 2.1812 | 1.1381 | 2.6571 | 3.7952 | 8.8935e-06 | 0.6263
1951 | 16GUS-A2:103.0-103.5 | 0.00156 | 103 | 156.8 | 573 | 420 | 15.004 | -0.554 | 2.9055 | -0.77471 | 2.1308 | 0.8843 | 3.6124 | 4.4967 | 1.1695e-05 | 0.7497
1977 | 16GUS-A2:103.5-104.0 | 0.00123 | 103.5 | 156.8 | 428 | 313 | 14.132 | -2.374 | 1.6878 | -0.80148 | 0.88628 | -0.89346 | 3.4052 | 2.5117 | 1.1088e-05 | 0.90143
1958 | 16GUS-A2:104.0-104.5 | 0.0009 | 104 | 156.5 | 325 | 238 | 8.546 | -0.832 | 2.2466 | -0.97299 | 1.2736 | -0.077591 | 2.0778 | 2.0002 | 7.1943e-06 | 0.79936
1967 | 16GUS-A2:104.5-105.0 | 0.00152 | 104.5 | 156.1 | 530 | 388 | 14.969 | -1.881 | 3.1627 | -0.77579 | 2.3869 | 1.2598 | 3.6041 | 4.8639 | 1.1671e-05 | 0.76783
1960 | 16GUS-A2:105.0-105.5 | 0.0014 | 105 | 156.1 | 467 | 342 | 12.23 | -1.216 | 1.8092 | -0.85988 | 0.94934 | -0.71614 | 2.9532 | 2.2371 | 9.7619e-06 | 0.69728
1947 | 16GUS-A2:105.5-106.0 | 0.00104 | 105.5 | 156.3 | 343 | 251 | 9.053 | -2.432 | 1.2615 | -0.95742 | 0.30407 | -1.5158 | 2.1983 | 0.6825 | 7.5476e-06 | 0.72573
1962 | 16GUS-A2:106.0-106.5 | 0.00173 | 106 | 155.9 | 608 | 445 | 15.855 | -1.404 | 2.8547 | -0.74858 | 2.1061 | 0.81013 | 3.8146 | 4.6247 | 1.2288e-05 | 0.71032
1954 | 16GUS-A2:106.5-107.0 | 0.00141 | 106.5 | 157 | 477 | 349 | 12.469 | -1.115 | 1.8553 | -0.85254 | 1.0027 | -0.64893 | 3.01 | 2.3611 | 9.9285e-06 | 0.70415
1978 | 16GUS-A2:107.0-107.5 | 0.0017 | 107 | 156.5 | 595 | 435 | 17.98 | -2.367 | 1.9704 | -0.68334 | 1.287 | -0.48089 | 4.3196 | 3.8387 | 1.377e-05 | 0.80997
1965 | 16GUS-A2:107.5-108.0 | 0.00174 | 107.5 | 155.9 | 606 | 444 | 16.439 | -1.738 | 2.6705 | -0.73065 | 1.9399 | 0.54126 | 3.9534 | 4.4946 | 1.2696e-05 | 0.72963
1959 | 16GUS-A2:108.0-108.5 | 0.00136 | 108 | 157 | 464 | 339 | 12.247 | -1.347 | 2.7745 | -0.85936 | 1.9151 | 0.69308 | 2.9573 | 3.6503 | 9.7738e-06 | 0.71866
1953 | 16GUS-A2:108.5-109.0 | 0.00123 | 108.5 | 156.8 | 397 | 290 | 10.379 | -0.929 | 3.3 | -0.91671 | 2.3833 | 1.4603 | 2.5134 | 3.9736 | 8.4718e-06 | 0.68877
1950 | 16GUS-A2:109.0-109.5 | 0.0011 | 109 | 156.1 | 393 | 288 | 10.276 | -0.727 | 3.1587 | -0.91987 | 2.2388 | 1.254 | 2.4889 | 3.7429 | 8.4e-06 | 0.76364
1961 | 16GUS-A2:109.5-110.0 | 0.00099 | 109.5 | 156.1 | 328 | 240 | 8.552 | -1.197 | 2.6253 | -0.9728 | 1.6525 | 0.4752 | 2.0792 | 2.5544 | 7.1985e-06 | 0.72712
1972 | 16GUS-B1B:97.0-97.5 | 0.00175 | 97 | 155.9 | 680 | 498 | 20.549 | -2.487 | 2.884 | -0.60447 | 2.2796 | 0.85301 | 4.93 | 5.783 | 1.556e-05 | 0.88915
1946 | 16GUS-B1B:99.0-99.5 | 0.00186 | 99 | 156.5 | 665 | 487 | 17.54 | -1.078 | 2.6078 | -0.69685 | 1.9109 | 0.44971 | 4.215 | 4.6647 | 1.3463e-05 | 0.72381
1949 | 16GUS-B1B:101.0-101.5 | 0.00153 | 101 | 156.5 | 529 | 387 | 13.829 | -1.485 | 2.2942 | -0.81079 | 1.4835 | -0.0080569 | 3.3332 | 3.3251 | 1.0876e-05 | 0.71088
1976 | 16GUS-B1B:103.0-103.5 | 0.00122 | 103 | 156.3 | 244 | 179 | 9.295 | -3.964 | 1.3139 | -0.94999 | 0.36389 | -1.4393 | 2.2558 | 0.81649 | 7.7163e-06 | 0.63248
1973 | 16GUS-B1B:105.0-105.5 | 0.0015 | 105 | 156.1 | 525 | 384 | 15.932 | -2.356 | 2.561 | -0.74622 | 1.8147 | 0.38133 | 3.8329 | 4.2142 | 1.2342e-05 | 0.82281
1974 | 16GUS-B1B:106.5-107.0 | 0.00113 | 106.5 | 156.3 | 396 | 290 | 12.524 | -3.056 | 0.5931 | -0.85085 | -0.25775 | -2.4916 | 3.0231 | 0.5315 | 9.9669e-06 | 0.88202
1970 | 16GUS-B1B:107.0-107.5 | 0.00157 | 107 | 157.2 | 591 | 433 | 18.119 | -2.585 | 2.7896 | -0.67907 | 2.1105 | 0.7151 | 4.3526 | 5.0677 | 1.3866e-05 | 0.88321
1975 | 16GUS-B1B:109.0-109.5 | 0.0016 | 109 | 156.8 | 594 | 435 | 17.98 | -2.229 | 1.8695 | -0.68334 | 1.1862 | -0.62807 | 4.3196 | 3.6915 | 1.377e-05 | 0.8606

## N2 Stds
Analysis | Identifier 1 | Rt | Ampl 44 | Ampl 45 | Area 44 | Measured d15N/14N (‰) | Known Value (‰, VPDB) | AcetLOCSlg slope | AcetLOCSlg intercept | convert to ‰, VAir using AcetLOCS | diff from known (‰, VPDB) (ACCURACY) | linearity correction slope | linearity correction intercept | UreaLOCSlg Slope | UreaLOCSlg intercept | convert to ‰, VPDB using AcetLOCS | diff from known (‰, VPDB) (ACCURACY) | Std Mass | % N Wt | Mass N (g) | Conc slope | Conc Intercept | convert to N | converted % N | diff from known (%N Accuracy)
1968 | Acetanilide Std | 155.7 | 2079 | 1518 | 55.021 | -3.307 | 1.2 | 0.79381 | 3.7398 | 1.1146 | 0.085365 |  |  | 1.1589 | 2.1023 | -1.7302 | 2.9302 | 0.00032 | 10.36 | 3.3152e-05 | 6.9698e-07 | 1.2379e-06 | 3.9586e-05 | 12.3707 | -2.0107
1969 | Acetanilide Std | 154.9 | 3378 | 2467 | 87.196 | -3.062 | 1.2 | 0.79381 | 3.7398 | 1.3091 | -0.10912 | >100 | >100 | 1.1589 | 2.1023 | -1.4463 | 2.6463 | 0.0006 | 10.36 | 6.216e-05 |  |  | 6.2012e-05 | 10.3353 | 0.024732
1940 | LOCS Std lg | 156.8 | 1249 | 919 | 33.553 | 4.651 | 7.3 | 0.79381 | 3.7398 | 7.4318 | -0.13179 | 0.030702 | -1.2354 | 1.1589 | 2.1023 | 7.4923 | -0.19234 | 0.02132 | 0.133 | 2.8356e-05 |  |  | 2.4624e-05 | 0.1155 | 0.017505
1942 | LOCS Std lg | 157.2 | 1389 | 1023 | 37.265 | 4.724 | 7.3 | 0.79381 | 3.7398 | 7.4897 | -0.18974 | 0.030702 | -1.2354 | 1.1589 | 2.1023 | 7.5769 | -0.27694 | 0.02323 | 0.133 | 3.0896e-05 |  |  | 2.7211e-05 | 0.11714 | 0.015864
1979 | LOCS Std lg | 156.8 | 1636 | 1204 | 45.983 | 4.167 | 7.3 | 0.79381 | 3.7398 | 7.0476 | 0.25242 | 0.030702 | -1.2354 | 1.1589 | 2.1023 | 6.9314 | 0.36856 | 0.02613 | 0.133 | 3.4753e-05 |  |  | 3.3287e-05 | 0.12739 | 0.0056099
1981 | LOCS Std lg | 156.8 | 1632 | 1202 | 44.921 | 4.368 | 7.3 | 0.79381 | 3.7398 | 7.2071 | 0.092861 | 0.030702 | -1.2354 | 1.1589 | 2.1023 | 7.1644 | 0.13562 | 0.02559 | 0.133 | 3.4035e-05 |  |  | 3.2547e-05 | 0.12719 | 0.0058142
1941 | LOCS Std sm | 156.3 | 297 | 218 | 7.965 | 3.162 | 7.3 | 0.79381 | 3.7398 | 6.2498 | 1.0502 | 0.23762 | 0.047074 | 1.1589 | 2.1023 | 5.7667 | 1.5333 | 0.00503 | 0.133 | 6.6899e-06 |  |  | 6.7893e-06 | 0.13498 | -0.0019767
1943 | LOCS Std sm | 157.2 | 271 | 199 | 7.307 | 1.179 | 7.3 | 0.79381 | 3.7398 | 4.6757 | 2.6243 | 0.23762 | 0.047074 | 1.1589 | 2.1023 | 3.4686 | 3.8314 | 0.00443 | 0.133 | 5.8919e-06 |  |  | 6.3307e-06 | 0.14291 | -0.0099056
1980 | LOCS Std sm | 157 | 377 | 278 | 13.705 | -0.714 | 7.3 | 0.79381 | 3.7398 | 3.173 | 4.127 | 0.23762 | 0.047074 | 1.1589 | 2.1023 | 1.2748 | 6.0252 | 0.00584 | 0.133 | 7.7672e-06 |  |  | 1.079e-05 | 0.18476 | -0.05176
1982 | LOCS Std sm | 157.2 | 435 | 320 | 13.351 | 1.405 | 7.3 | 0.79381 | 3.7398 | 4.8551 | 2.4449 | 0.23762 | 0.047074 | 1.1589 | 2.1023 | 3.7306 | 3.5694 | 0.00683 | 0.133 | 9.0839e-06 |  |  | 1.0543e-05 | 0.15437 | -0.021367
1944 | Sorghum Std | 156.1 | 378 | 276 | 9.92 | -1.982 | 1.58 | 0.79381 | 3.7398 | 2.1664 | -0.58644 | <20 | <100 | 1.1589 | 2.1023 | -0.19464 | 1.7746 | 0.00065 | 1.47 | 9.555e-06 |  |  | 8.1519e-06 | 1.2541 | 0.21586
1945 | Sorghum Std | 156.3 | 383 | 280 | 10.073 | -1.236 | 1.58 | 0.79381 | 3.7398 | 2.7586 | -1.1786 |  |  | 1.1589 | 2.1023 | 0.6699 | 0.9101 | 0.00053 | 1.47 | 7.791e-06 |  |  | 8.2586e-06 | 1.5582 | -0.088219
1956 | Urea Std | 155.1 | 32218 | 23541 | 805.605 | -2.286 | -0.56 | 0.79381 | 3.7398 | 1.9251 | -2.4851 |  |  | 1.1589 | 2.1023 | -0.54695 | -0.013055 | 0.00128 | 46.65 | 0.00059712 |  |  | 0.00056273 | 43.963 | 2.687
1957 | Urea Std | 155.3 | 33093 | 24180 | 827.979 | -2.279 | -0.56 | 0.79381 | 3.7398 | 1.9307 | -2.4907 |  |  | 1.1589 | 2.1023 | -0.53883 | -0.021167 | 0.00133 | 46.65 | 0.00062044 |  |  | 0.00057832 | 43.4828 | 3.1672
[10 empty] | median | -0.011877 |  |  |  |  | median | 1.2217
[10 empty] | 95% CI | 3.1503 |  |  |  |  | 95% CI | 4.5992
[10 empty] | 5% CI | -2.4871 |  |  |  |  | 5% CI | -0.22195

## 16GUS-A2 Calib 2
Identifier 1 | Top Depth | d13C | % C weight | d15N | % N
16GUS-A2:100.0-100.5 | 100 | -26.7666 | 7.6759 | 1.0101 | 2.3837
16GUS-A2:100.5-101.0 | 100.5 | -26.9488 | 7.3458 | 1.0211 | 3.0666
16GUS-A2:101.0-101.5 | 101 | -27.0391 | 7.3816 | 2.0508 | 3.7084
16GUS-A2:101.5-102.0 | 101.5 | -27.3243 | 7.9571 | 2.0689 | 3.4098
16GUS-A2:102.0-102.5 | 102 | -26.6733 | 4.1912 | 1.3641 | 1.9877
16GUS-A2:102.5-103.0 | 102.5 | -26.7422 | 7.1946 | 2.125 | 3.5021 | -26.7422 | 7.1946 | 2.125 | 3.5021
16GUS-A2:103.0-103.5 | 103 | -26.5311 | 8.207 | 2.1308 | 4.4967
16GUS-A2:103.5-104.0 | 103.5 | -26.3827 | 8.1006 | 0.88628 | 2.5117
16GUS-A2:104.0-104.5 | 104 | -26.9873 | 8.7919 | 1.2736 | 2.0002
16GUS-A2:104.5-105.0 | 104.5 | -26.6103 | 8.236 | 2.3869 | 4.8639
16GUS-A2:105.0-105.5 | 105 | -26.3275 | 8.5364 | 0.94934 | 2.2371
16GUS-A2:105.5-106.0 | 105.5 | -26.5177 | 8.518 | 0.30407 | 0.6825
16GUS-A2:106.0-106.5 | 106 | -26.1436 | 8.7034 | 2.1061 | 4.6247
16GUS-A2:106.5-107.0 | 106.5 | -26.3754 | 8.8817 | 1.0027 | 2.3611
16GUS-A2:107.0-107.5 | 107 | -26.1887 | 8.8363 | 1.287 | 3.8387
16GUS-A2:107.5-108.0 | 107.5 | -26.3684 | 9.0938 | 1.9399 | 4.4946
16GUS-A2:108.0-108.5 | 108 | -26.501 | 9.252 | 1.9151 | 3.6503
16GUS-A2:108.5-109.0 | 108.5 | -26.8913 | 8.6411 | 2.3833 | 3.9736
16GUS-A2:109.0-109.5 | 109 | -26.6746 | 9.8608 | 2.2388 | 3.7429
16GUS-A2:109.5-110.0 | 109.5 | -26.8849 | 8.9395 | 1.6525 | 2.5544

## 16GUS-A2 (hidden)
Identifier 1 | Top Depth | d13C (‰, VPDB) | % C weight | d15N (‰, Air) | % N weight
16GUS-A2:100.0-100.5 | 100 | -24.0032 | 7.6759 | 4.8853 | 0.68766
16GUS-A2:100.5-101.0 | 100.5 | -24.2823 | 7.3458 | 5.612 | 0.83661
16GUS-A2:101.0-101.5 | 101 | -24.6298 | 7.3816 | 5.7172 | 0.67158
16GUS-A2:101.5-102.0 | 101.5 | -25.6026 | 7.9571 | 5.3864 | 0.77073
16GUS-A2:102.0-102.5 | 102 | -24.9885 | 4.1912 | 4.2597 | 0.33866
16GUS-A2:102.5-103.0 | 102.5 | -25.1323 | 7.1465 | 5.1711 | 0.62973
16GUS-A2:102.5-103.0 | 102.5 | -24.1818 | 7.2426 | 5.7365 | 0.6263
16GUS-A2:103.0-103.5 | 103 | -23.1397 | 8.207 | 6.5179 | 0.7497
16GUS-A2:103.5-104.0 | 103.5 | -24.0571 | 8.1006 | 5.0929 | 0.90143
16GUS-A2:104.0-104.5 | 104 | -25.4315 | 8.7919 | 4.3244 | 0.79936
16GUS-A2:104.5-105.0 | 104.5 | -23.3255 | 8.236 | 6.7667 | 0.76783
16GUS-A2:105.0-105.5 | 105 | -23.2559 | 8.5364 | 4.7624 | 0.69728
16GUS-A2:105.5-106.0 | 105.5 | -24.6068 | 8.518 | 3.4598 | 0.72573
16GUS-A2:106.0-106.5 | 106 | -21.906 | 8.7034 | 6.6693 | 0.71032
16GUS-A2:106.5-107.0 | 106.5 | -23.089 | 8.8817 | 4.8653 | 0.70415
16GUS-A2:107.0-107.5 | 107 | -21.9644 | 8.8363 | 6.2899 | 0.80997
16GUS-A2:107.5-108.0 | 107.5 | -21.8432 | 9.0938 | 6.6239 | 0.72963
16GUS-A2:108.0-108.5 | 108 | -23.1922 | 9.252 | 5.7318 | 0.71866
16GUS-A2:108.5-109.0 | 108.5 | -24.3161 | 8.6411 | 5.8134 | 0.68877
16GUS-A2:109.0-109.5 | 109 | -24.0174 | 9.8608 | 5.6476 | 0.76364
16GUS-A2:109.5-110.0 | 109.5 | -24.9773 | 8.9395 | 4.7045 | 0.72712

## 16GUS-B1B (hidden)
Identifier 1 | Top Depth | d13C (‰, VPDB) | % C weight | d15N (‰, Air) | % N weight
16GUS-B1B:097.0-097.5 | 97 | -21.6047 | 9.3352 | 7.8141 | 0.88915
16GUS-B1B:099.0-099.5 | 99 | -21.5003 | 9.0475 | 6.8228 | 0.72381
16GUS-B1B:101.0-101.5 | 101 | -23.22 | 8.2444 | 5.6274 | 0.71088
16GUS-B1B:103.0-103.5 | 103 | -25.6462 | 5.4921 | 3.5697 | 0.63248
16GUS-B1B:105.0-105.5 | 105 | -22.6673 | 8.3461 | 6.3939 | 0.82281
16GUS-B1B:106.5-107.0 | 106.5 | -23.6098 | 9.1843 | 3.6162 | 0.88202
16GUS-B1B:107.0-107.5 | 107 | -22.2673 | 8.9745 | 7.1422 | 0.88321
16GUS-B1B:109.0-109.5 | 109 | -22.7578 | 8.6372 | 6.1891 | 0.8606

## 16GUS-B1B Calib 2
Sample | Top Depth | d13C | % C | d15N | %N
16GUS-B1B:097.0-097.5 | 97 | -26.3226 | 9.3352 | 2.2796 | 0.88915
16GUS-B1B:099.0-099.5 | 99 | -26.4028 | 9.0475 | 1.9109 | 0.72381
16GUS-B1B:101.0-101.5 | 101 | -26.5404 | 8.2444 | 1.4835 | 0.71088
16GUS-B1B:103.0-103.5 | 103 | -26.7468 | 5.4921 | 0.36389 | 0.63248
16GUS-B1B:105.0-105.5 | 105 | -25.9522 | 8.3461 | 1.8147 | 0.82281
16GUS-B1B:106.5-107.0 | 107 | -26.0911 | 9.1843 | -0.25775 | 0.88202
16GUS-B1B:107.0-107.5 | 109 | -26.1418 | 8.9745 | 2.1105 | 0.88321
16GUS-B1B:109.0-109.5 | 111 | -26.5308 | 8.6372 | 1.1862 | 0.8606